## Slide 1
Electricity Meter
Anomaly Detection
Semester 2 project presentation
Group 14
Notes: This presentation reports the integrated August detection pipeline, the evidence we have collected, and the evaluation that remains. The historical pilot included five methods. The current repository integrates four methods. Sources: Presentation Sem 1.pdf, Presentation_Sem_2.pdf, group14reshape/README.md and runs/ensemble.

## Slide 2
Team and industry scope
02
Group 14
Yau Hin Chow
Michelle Yutraya
Shuhuan Zeng
Hanzhang Huang
Zebin Xu
Industry sites
RACV and InchScape
Client contact: Allan
Client requirement
A manageable shortlist of unusual meter behaviour for operational review.
Team workstreams: model development, pipeline integration, behaviour analysis and evaluation
Scope: anomaly screening and investigation. The project has no comprehensive fault labels.
Notes: Sources: Presentation Sem 1.pdf for member names. Presentation_Sem_2.pdf and docs/Meter_Behaviour_Report.docx for project scope. Individual ownership of workstreams requires team confirmation, so this slide describes collective contributions without assigning unverified roles. Suggested presenters should agree section ownership before delivery.

## Slide 3
Research question and challenges
03
How can we prioritise unusual electricity use
when reliable fault labels are scarce?
Different normal behaviour
Equipment schedules and seasonal changes vary between meter channels.
Different model outputs
Models differ in score scale, time resolution and coverage.
Evaluation challenge: agreement helps prioritisation, but a confirmed fault still needs operational evidence.
Notes: Sources: source Semester 2 presentation and the project discussion. A model flag is an anomaly candidate. Equipment fault classification and audited energy savings require evidence beyond model scores.

## Slide 4
A shared detection pipeline
04
1 Prepare
One 5-minute CSV
per meter channel
2 Detect
Four method folders
Spartan jobs
3 Align
Common 15-minute
score contract
4 Review
Events, case plots
and client feedback
Repository structure
configs/ Shared settings
data/ Input datasets
methods/ Model code and Slurm jobs
shared/ Alignment and review tools
runs/ Outputs
docs/ Reports and documentation
August outputs
4,118,445 model-score rows
1,300,512 aligned feature rows
54,192 event rows
1,422 channel-run summaries
CSV counts exclude headers. Cluster job paths still need site-specific configuration.
Notes: Sources: group14reshape/README.md, configs, methods, shared/build_ensemble_features.py and runs/ensemble. The team executed model jobs on Spartan and copied outputs locally. Python and YAML paths use the project structure. Some Slurm scripts still contain cluster-specific absolute paths. The wide feature table supports comparison and future ensemble modelling. It does not establish a trained final ensemble classifier.

## Slide 5
Data scope and recurring behaviour
05
5-minute electrical measurements
Power, current, voltage and power factor
622 catalogued channels across 129 devices
Behaviour report: 417 analysed channels
Behaviour classification
Chart: 
| Stable | Seasonal | No repeatable pattern
Channels | 149 | 254 | 14
Normal behaviour varies with equipment and season. A single global operating profile would miss this variation.
Report cohort and model-run coverage have different denominators.
Notes: Source: docs/Meter_Behaviour_Report.docx. The source report catalogues 622 channels across RACV and InchScape and analyses 417 channels from usable files. The report cohort differs from current August model coverage. Stable:149, seasonal:254, no repeatable pattern:14. Percentages round to 36%,61%,3%. Equipment/site counts 129 devices and 13 types come from the source Semester 2 presentation. Reporting span:25 October 2025 to27 August2026.

## Slide 6
Four methods in the current workflow
06
Method | Normal reference | Anomaly score
LSTM Autoencoder | Learned temporal reconstruction | Point reconstruction error
LSTM-VAE | Probabilistic latent representation | Point reconstruction error
RPCA | Historical normal subspace | Residual from normal structure
Multi-scale Matrix Profile | Historical subsequence matches | Distance from familiar patterns
The earlier pilot also included LOF. Its results remain separate from this four-model August run.
Method foundations: Malhotra et al. (2016), Kingma & Welling (2013), Candès et al. (2011), Yeh et al. (2016)
Notes: Repository sources: methods/lstm_autoencoder, methods/lstm_vae, methods/rpca, methods/matrix_profile. Literature: Malhotra et al.,2016, LSTM-based Encoder-Decoder for Multi-sensor Anomaly Detection, https://arxiv.org/abs/1607.00148 . Kingma and Welling,2013, Auto-Encoding Variational Bayes, https://arxiv.org/abs/1312.6114 . Candes et al.,2011, Robust Principal Component Analysis?, https://arxiv.org/abs/0912.3599 . Yeh et al.,2016, Matrix Profile I, https://www.cs.ucr.edu/~eamonn/MatrixProfile.html . These references explain the method families. Repository implementations determine this project's actual scoring and windowing. LOF belongs to the earlier five-method pilot, whose outputs and calibration differ from the current August workflow.

## Slide 7
LSTM-VAE reconstruction scoring
07
A separate model learns each channel’s historical behaviour
Electrical input
24-hour context
288 five-minute points
LSTM-VAE
Encode a latent
representation
Reconstruction
Compare observed
and reconstructed values
Interval score
Final three points
max and mean errors
Training combines reconstruction loss with latent regularisation.
Inference maps recent reconstruction error to the 15-minute timeline.
A high percentile means unusual relative to historical scores. It does not give a fault probability.
Notes: Source: methods/lstm_vae and configs. The implementation uses a 24-hour window of 288 five-minute points and a three-point stride. Electrical features include real/reactive power, power factor, maximum voltage and current, with optional calendar features. The training objective includes reconstruction loss and KL regularisation. Aligned inference scores use reconstruction errors for the final three points, not KL as a point-level fault probability. A per-channel model learns historical behaviour.

## Slide 8
Time windows and score alignment
08
History before 1 Aug 2026. Test: 1–31 Aug 2026. Australia/Sydney.
Method | Context / native resolution | 15-minute mapping
LSTM AE and LSTM-VAE | 24 hours at 5-minute resolution | Stride 15 min, final 3 points
RPCA | Daily structure, 5-minute residuals | Max and mean of 3 points
Matrix Profile | 2 h / 6 h / 24 h at 30-minute base | Repeat into 2 bins, mark source
Frozen historical ECDF calibrates each model’s scores.
Max preserves severity. Mean describes persistence.
Unavailable scores remain missing. Repeated MP bins retain their 30-minute origin.
Notes: Sources: configs/common.yaml, configs/output_contract.yaml, four method adapters and shared/build_ensemble_features.py. Historical training data ends before1August2026. Test range:1August through31August, half-open boundary ending1September2026, Australia/Sydney. Neural models use288 five-minute points and stride3, scoring the final3 points. RPCA uses daily context and point residuals. Matrix Profile uses a30-minute base with2h,6h,24h subsequences and a fixedJuly baseline. The adapter repeats a30-minute score over two15-minute bins and sets data_status=upsampled_from_30m. Frozen train/baseline ECDF provides calibration.

## Slide 9
August coverage and alert burden
09
Channels with outputs
Flagged share of available intervals
Chart: 
| LSTM AE | LSTM-VAE | Matrix Profile | RPCA
Channels | 437 | 428 | 260 | 297
Chart: 
| LSTM AE | LSTM-VAE | Matrix Profile | RPCA
Flagged interval share | 0.00641 | 0.03522 | 0.33114 | 0.0081524
Coverage and thresholds differ. These figures describe workload and availability, without establishing an accuracy ranking.
MP counts repeated 15-minute bins. A flagged interval share is not a false-positive rate.
Notes: Source: runs/ensemble/run_summary.csv, grouped by model. Channel counts:437,428,260,297. Available intervals:1253346,1228011,753792,883296. Flags:8034,43250,249608,7201. Flagged share=flagged intervals/available intervals, yielding about0.64%,3.52%,33.11%,0.82%. These ratios measure output alert burden, not false-positive rates or accuracy. Coverage differs between methods. MP counts aligned15-minute bins repeated from30-minute scores. Comparisons of detector quality require common channels, common valid times and verified labels.

## Slide 10
A real case: four-model agreement
10
MR001, DD43710150291_0, 21 Aug 2026 at 06:00 (UTC+10)
Chart: kW
Chart: Percentile
Hours relative to the selected interval (0)
Observed change
Power rises from about
4 kW to 28 kW.
Interpretation
All four flag the start.
Operational cause
remains unconfirmed.
Client feedback:
some sampled alerts
could not be corroborated.
The flat stretch before the rise also needs a data-quality check.
Notes: Source: runs/ensemble/manual_review_august_v3/review_cases.csv and review_timeline_15min.csv, MR001, DD43710150291_0, anchor21August202606:00+10:00. The chart shows15-minute mean real power and model maximum percentiles from24hours before to24hours after the selected interval. All four models flagged the anchor interval. Power rises from roughly4kW to28kW then follows a varying daytime load. Before the rise, the raw series has a prolonged flat stretch. This may reflect normal operation or data recovery, among other explanations. No confirmed fault label exists for MR001. Client feedback in the project discussion:review capacity was limited and some sampled alerts could not be corroborated. Those comments are not a complete labelled evaluation.

## Slide 11
A focused manual review set
11
Chart: 
| Four-model agreement | Three-model agreement | Single-model alerts | Long events
Cases | 6 | 6 | 21 | 8
41 cases
48-hour context per case
Original power and current
Aligned model scores
English plots and gallery
Single-model disagreements deserve review too. They can expose genuine sensitivity or model-specific false alarms.
Review labels remain unfilled. This selected sample cannot estimate overall detection accuracy.
Notes: Source: runs/ensemble/manual_review_august_v3/review_cases.csv. Counts:6four-model consensus,6three-model consensus,6MP-only,5AE-only,5VAE-only,5RPCA-only,8long-event cases (two per method). Thus12consensus,21single-model and8long-event cases. Each case has48hours of raw5-minute data and aligned15-minute scores plus August context. This is a purposive sample designed to inspect disagreements, not a random prevalence sample. All41review_status fields currently read unreviewed and review_label is empty. User-reported client feedback is informal and cannot support precision or recall.

## Slide 12
Data quality and energy investigation
12
Stale readings
About 96% of the 417 report channels have at least one stuck-reading episode.
Shared freeze
Up to 355 channels show a shared freeze around 18–20 August. Cause needs investigation.
Energy review shortlist
Candidate pattern | Channels
Standby load | 144
Weekend operation | 39
Spike-day excess | 115
The report gives an indicative annualised
energy opportunity of about 1.4 million kWh.
Candidate groups overlap. Energy estimates depend on assumptions and require a site audit.
Notes: Sources: docs/Meter_Behaviour_Report.docx, docs/Energy_Waste_Report.docx and docs/Energy_Waste_Meter_Detail.docx. Behaviour report cohort417. About96% have at leastone stuck-reading episode. The largest shared freeze occurs18–20August, affecting up to355channels over roughly2.4days. Simultaneous power/current/voltage freezes and cross-channel timing suggest data or communications problems, but operational cause remains unconfirmed. Energy report identifies144standby candidates,39weekend candidates and115spike-day candidates. These groups overlap. The indicative annualised estimate of about1.4million kWh is an assumption-based screening estimate, not audited savings.

## Slide 13
Controlled anomalies: the data audit
13
33 modified channels. 6,292 changed 5-minute power points in August.
Chart: kW
Hours relative to first changed point
Audit finding
111 continuous changed
segments, rather than
111 labelled events.
Comparison risk
Positive / negative power
columns changed outside
the injection periods.
Shown: DD33710136504_0. pRealKw_original is a verification reference, excluded from model input.
Notes: Source: data/injected_meters compared with data/processed/meter_csvs in the repository audit.33modified channels,6292changed5-minute real-power points inAugust,111continuous changed segments. Segment count is not an injection-event count. pRealKw_original matches original real power and must be excluded from model features. Training real power is unchanged. The helper positive/negative power columns changed across the whole time range, including training dates. This is a confounder for the11-feature LSTM AE. Timestamps must be matched by UTC instant because displayed offsets differ. The plot uses DD33710136504_0.csv and its pRealKw_original reference around the first power change. No injected-data detection rate has yet been established locally.

## Slide 14
Paired evaluation with frozen models
14
The original and injected meter use the same inference pipeline
Keep fixed | Measure
Weights, scaler and feature order | Change in score during each injection
Historical ECDF and thresholds | Recall over labelled injected events
Timestamp mapping and valid coverage | Detection delay after injection starts
Windowing and aggregation | Alert burden in untouched periods
Next prerequisite: recover matching cloud artifacts, resolve the auxiliary-power change and create an injection manifest.
Notes: Sources: injected-data audit, model input configurations and user discussion requesting use of trained weights rather than automatic retraining. The intended experiment scores original and injected versions with exactly the same trained weights, scalers, feature ordering, ECDF, thresholds and time alignment. Complete matching artifacts must be recovered from the cloud where absent locally. Retraining is not a prerequisite when matching inference artifacts exist. Correct the auxiliary power columns consistently before comparison and keep pRealKw_original outside inference. A manifest should identify actual injection intervals and labels. Suggested metrics:recall over known injected events, delay from injection start to firstflag, change in calibrated/rawscore, and baseline alertburden on untouched periods. Do not report formal false-positive rate without known negative truth.

## Slide 15
Deliverables, conclusions and next steps
15
Delivered
Structured repository and common I/O
Four-model August cloud outputs
41 English review cases
Behaviour and energy reports
Established findings
Models differ in coverage and alert burden.
Stale readings complicate interpretation.
Consensus still needs operational review.
Remaining work
Run the paired injected-data test with matching saved artifacts.
Collect verified labels and quantify delay and alert burden.
Evaluate ensemble rules on common valid coverage.
Questions and discussion
Notes: Sources: repository folders, fourAugust outputCSVs, manualreviewv3, threebehaviour/energyreports and projectdiscussion. Completed:repository restructuring, commonI/Ocontract, Augustcloudexecution, outputalignment/aggregation, manualreviewselection/Englishvisualisation, behaviour/energyanalysis. Established:models differ incoverage andflagging, percentiles supporthistoricalcomparison, dataquality canconfoundinterpretation, modelagreement aloneis insufficientfor confirmedfaults. Unfinished:complete local savedartifacts, cleanpaired injectedexperiment, verifiedoperational labels, detector andensemble evaluation. Current widefeature table is not a trained final ensemble classifier.